## Sheet1
ObjClass | 1
Title | Results
AcqVersion | Rev. B.03.02-SR2 [341] Copyright © Agilent Technologies
AcqInstName | Instrument 1
AcqMethPath | C:\CHEM32\1\METHODS\
AcqInjTime | 1291222524
AcqMethModTime | 1291049574
AcqMethModBy | Jay
AcqMethModified | 0
Version | Rev. B.03.02-SR2 [341] Copyright © Agilent Technologies
AcqVialUnused | 0
SeqPathAndFile
Dilution | 1
InjVolume | 0.5
ActInjVolume | -3
SeqLine | 2
Vial | 4097
Inj | 1
BarCode
AcqMeth | AAA_21X50MM.M
AcqOp | CODY
InjDateTime | 01-Dec-10, 10:55:24
SampleName | CODY2010
SampleInfo
ISTDNum | 1
ISTDAmount | 0
SampleAmount | 0
Multiplier | 1
MethodInfo | AAA Analysis 2.1 x 50 mm Zorbax Eclipse Plus 1.8 um particle
DAMethPath | C:\CHEM32\1\METHODS\
DAMethFile | AAA_21X50MM.M
DAMethModified | 1
DAMethModTime | 1291751596
DAMethModBy | CODY
NumSignals | 1

## Columns
HeaderName | HeaderValue | ColInstalled | ProductNum | BatchNum | ColDescription | ColLength | ColDiameter | DeviceSerial | ColumnPosition | MaxPressure | MaxTemp | MaxPh | NumInjections | Comment | IsHW | WriteColID | SerialNum | MinPh | ParticleSize | ColDead | ColDeadUnit
NumberOfRows | 0
NumberOfCol | 20
NumberOfHead | 7
Modified | 1
Restored | 1
NewColID | 0
WriteInfo | 0

## ModuleInfo
HeaderName | HeaderValue | nameRef | number | serialNumber | FWrevision | buildNumber | Name | PartNumber | DeviceType
NumberOfRows | 5 | 0 | 1 | DE63059516 | A.06.10 | 005 | 1200 Binary Pump SL | G1312B | 1
NumberOfCol | 8 | 0 | 1 | DE73458006 | B.01.06 | 0001 | 1100/1200 Diode Array Detector SL | G1315C | 2
NumberOfHead | 6 | 0 | 1 | DE60559261 | A.06.10 | 004 | 1200 Column Thermostat SL | G1316B | 4
Modified | 1 | 0 | 1 | DE64557882 | A.06.11 | 001 | 1200 High Performance Autosampler SL | G1367C | 3
location |  | 0 | 1 | DE60565477 | n/a |  | 1200 Sample Thermostat | G1330B | -1
specials

## DiagDirectory
HeaderName | HeaderValue | Title | DataType | Description
NumberOfRows | 14 | DAD1, Start/Stop Conditions | 0
NumberOfCol | 3 | PMP1 , Start/Stop Conditions | 0
NumberOfHead | 4 | THM1 , Start/Stop Conditions | 0
Modified | 1 | PMP1 , Pressure | 5
|  | PMP1 , Flow | 6
|  | PMP1 , Solvent A | 7 | H2O -
|  | PMP1 , Solvent B | 7 | H2O -
|  | ALS1, Start/Stop Conditions | 0
|  | THM1 , Temperature (Left) | 8 | THM1 , Temperature (Left)
|  | DAD1 | 7 | DAD1
|  | DAD1 | 7 | DAD1
|  | DAD1 | 12 | DAD1
|  | DAD1, CellTag | 0
|  | DAD1, LampTag | 0

## DADiag
HeaderName | HeaderValue | Title | Description
NumberOfRows | 2 | PMP1 , Solvent A | H2O -
NumberOfCol | 2 | PMP1 , Solvent B | H2O -
NumberOfHead | 22
Modified | 1
DAD1UVOnTime | 15.1775
DAD1UVBurnTime | 2630.3792
DAD1VisOnTime | -1
DAD1VisBurnTime | 9.2728
StartPressure | 447.53
StopPressure | 338.02
StartFlow | 0.42
StopFlow | 0.42
PumpType | 9
StartLeftTemp | 39.97
StopLeftTemp | 39.99
StartRightTemp | 39.98
StopRightTemp | 39.99
AirTemp | 20.02
InjVolume | 0.5
ActInjVolume | -3
InjVolumeText | 0.5 µl
ActInjVolText | Inj prog

## TargetMass
HeaderName | HeaderValue | Masses
NumberOfRows | 0
NumberOfCol | 1
NumberOfHead | 4
Modified | 1

## Compound
HeaderName | HeaderValue | FirstPeak | NextISTD | ISTD | NextTimeRef | TimeRef | NextCompGroup | CompGroup | ControlLimits | IsTimeRef | IsISTD | Name | Amount | CalCompound | IsQualified | IsInLimits | UseQualifiers | AmtLimitLow | AmtLimitHigh | Multiplier | AmtPerResp
NumberOfRows | 64 | 1 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
NumberOfCol | 20 | 2 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
NumberOfHead | 12 | 3 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
Modified | 1 | 4 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
FirstPeak_ | Peak | 5 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
NextISTD_ | Compound | 6 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
ISTD_ | ISTD | 7 | [7 empty] | FALSE | FALSE | Aspartic acid | 0 | 1 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
NextTimeRef_ | Compound | 8 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
TimeRef_ | TimeRefGroup | 9 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
NextCompGroup_ | Compound | 10 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
CompGroup_ | CompGroup | 11 | [7 empty] | FALSE | FALSE | Glutamic acid | 0 | 2 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
ControlLimits_ | ControlLimits | 12 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
|  | 13 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
|  | 14 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
|  | 15 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
|  | 16 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
|  | 17 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
|  | 18 | [7 empty] | FALSE | FALSE | Asparagine | 766.7703 | 3 | TRUE | 1 | FALSE | 0 | 0 | 1 | 29.7216
|  | 19 | [7 empty] | FALSE | FALSE | Serine | 1637.4347 | 4 | TRUE | 1 | FALSE | 0 | 0 | 1 | 21.1715
|  | 20 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
|  | 21 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
|  | 22 | [7 empty] | FALSE | FALSE | Glutamine | 17285.3629 | 5 | TRUE | 1 | FALSE | 0 | 0 | 1 | 57.8775
|  | 23 | [7 empty] | FALSE | FALSE | Histidine | 28.9204 | 6 | TRUE | 1 | FALSE | 0 | 0 | 1 | 37.4275
|  | 24 | [7 empty] | FALSE | FALSE | Glycine | 223.008 | 7 | TRUE | 1 | FALSE | 0 | 0 | 1 | 21.1632
|  | 25 | [7 empty] | FALSE | FALSE | Threonine | 639.0212 | 8 | TRUE | 1 | FALSE | 0 | 0 | 1 | 26.4668
|  | 26 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
|  | 27 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
|  | 28 | [7 empty] | FALSE | FALSE | Arginine | 242.1044 | 9 | TRUE | 1 | FALSE | 0 | 0 | 1 | 20.4487
|  | 29 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
|  | 30 | [7 empty] | FALSE | FALSE | Alanine | 1623.0305 | 10 | TRUE | 1 | FALSE | 0 | 0 | 1 | 19.9919
|  | 31 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
|  | 32 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
|  | 33 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
|  | 34 | [7 empty] | FALSE | FALSE | Tyrosine | 446.7234 | 11 | TRUE | 1 | FALSE | 0 | 0 | 1 | 29.5738
|  | 35 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
|  | 36 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
|  | 37 | [7 empty] | FALSE | FALSE | Cystine | 94.7266 | 12 | TRUE | 1 | FALSE | 0 | 0 | 1 | 44.0703
|  | 38 | [7 empty] | FALSE | FALSE | Valine | 0 | 13 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
|  | 39 | [7 empty] | FALSE | FALSE | Methionine | 813.6809 | 14 | TRUE | 1 | FALSE | 0 | 0 | 1 | 25.1347
|  | 40 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
|  | 41 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
|  | 42 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
|  | 43 | [7 empty] | FALSE | FALSE | Tryptophan | 56.1239 | 15 | TRUE | 1 | FALSE | 0 | 0 | 1 | 40.6302
|  | 44 | [7 empty] | FALSE | FALSE | Phenylalanine | 1051.837 | 16 | TRUE | 1 | FALSE | 0 | 0 | 1 | 73.5356
|  | 45 | [7 empty] | FALSE | FALSE | Isoleucine | 1673.2435 | 17 | TRUE | 1 | FALSE | 0 | 0 | 1 | 90.4811
|  | 46 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
|  | 47 | [7 empty] | FALSE | FALSE | Leucine | 249.7903 | 18 | TRUE | 1 | FALSE | 0 | 0 | 1 | 98.8785
|  | 48 | [7 empty] | FALSE | FALSE | Lysine | 310.18 | 19 | TRUE | 1 | FALSE | 0 | 0 | 1 | 113.5046
|  | 49 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
|  | 50 | [7 empty] | FALSE | FALSE | Hydroxyproline | 43.3906 | 20 | TRUE | 1 | FALSE | 0 | 0 | 1 | 11.1314
|  | 51 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
|  | 52 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
|  | 53 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
|  | 54 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
|  | 55 | [7 empty] | FALSE | FALSE | Sarcosine | 54.8033 | 21 | TRUE | 1 | FALSE | 0 | 0 | 1 | 11.0425
|  | 56 | [7 empty] | FALSE | FALSE | Proline | 12.8129 | 22 | TRUE | 1 | FALSE | 0 | 0 | 1 | 15.5053
|  | 57 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
|  | 58 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
|  | 59 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
|  | 60 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
|  | 61 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
|  | 62 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
|  | 63 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0
|  | 64 | [7 empty] | FALSE | FALSE |  | 0 | 0 | TRUE | 1 | FALSE | 0 | 0 | 1 | 0

## CompGroup
HeaderName | HeaderValue | FirstComp | NextISTD | ISTD | Name | ShortName | CalMethod | AreaSum | HeightSum | AmtSum | CalCompGroup
NumberOfRows | 0
NumberOfCol | 10
NumberOfHead | 7
Modified | 1
FirstComp_ | Compound
NextISTD_ | CompGroup
ISTD_ | ISTD

## TimeRefGroup
HeaderName | HeaderValue | FirstDependent | FirstTimeRef | ShortName | TimeCurve | CalTimeRef | CurveParm1 | CurveParm2 | CurveParm3 | CurveParm4
NumberOfRows | 0
NumberOfCol | 9
NumberOfHead | 6
Modified | 1
FirstDependent_ | Compound
FirstTimeRef_ | Compound

## Signal
HeaderName | HeaderValue | FirstPeak | UnkComp | Desc | UnkCompRF | UnkCompCalc | RawDataFile | AreaSum | HeightSum | AmtSum | AmtSumCal | AmtSumUnk | CalSignal | Start | End | Delay | XUnits | YUnits | DataType
NumberOfRows | 1 | 1 |  | DAD1 A, Sig=338,10 Ref=390,20, TT | 0 | 0 | C:\CHEM32\1\DATA\CODY2010\PLATE1A-2\1AB-0201.D | 6513.1112 | 2956.855 | 27252.9645 | 27252.9645 | 0 | 1 | 0.0010333 | 8.9994 | 0 | min | mAU | 1
NumberOfCol | 18
NumberOfHead | 6
Modified | 1
FirstPeak_ | Peak
UnkComp_ | Compound

## Peak
HeaderName | HeaderValue | NextPeakSignal | Signal | NextPeakComp | Compound | CalPeakType | CalcBase | IdMethod | ExpRetTime | MeasRetTime | CorrExpRetTime | IntPeakType | Area | Height | Width | Symmetry | CalPeak
NumberOfRows | 64 | 2 | 1 | 1 | 1 | 3 | 0 | 0 | 0 | 0.29336 | 0 | BV | 5.5025 | 2.0344 | 0.042556 | 1.3763 | 0
NumberOfCol | 16 | 3 | 1 | 2 | 2 | 3 | 0 | 0 | 0 | 0.32638 | 0 | VV | 4.0712 | 3.4528 | 0.017256 | 1.0676 | 0
NumberOfHead | 8 | 4 | 1 | 3 | 3 | 3 | 0 | 0 | 0 | 0.34589 | 0 | VB | 2.075 | 2.8269 | 0.011564 | 0.95119 | 0
Modified | 1 | 5 | 1 | 4 | 4 | 3 | 0 | 0 | 0 | 0.38991 | 0 | BB | 13.6545 | 6.268 | 0.037915 | 1.3024 | 0
NextPeakSignal_ | Peak | 6 | 1 | 5 | 5 | 3 | 0 | 0 | 0 | 0.44445 | 0 | BV | 161.7084 | 61.9496 | 0.038454 | 0.51458 | 0
Signal_ | Signal | 7 | 1 | 6 | 6 | 3 | 0 | 0 | 0 | 0.62226 | 0 | VV | 145.2184 | 71.7524 | 0.030612 | 0.70549 | 0
NextPeakComp_ | Peak | 8 | 1 | 7 | 7 | 0 | 0 | 0 | 0.65401 | 0 | 0.65401 |  | 0 | 0 | 0 | 0 | 1
Compound_ | Compound | 9 | 1 | 8 | 8 | 3 | 0 | 0 | 0 | 0.72291 | 0 | VB | 2.3024 | 1.1476 | 0.028906 | 0.46867 | 0
|  | 10 | 1 | 9 | 9 | 3 | 0 | 0 | 0 | 0.81889 | 0 | BV | 219.5895 | 109.5918 | 0.030377 | 0.59593 | 0
|  | 11 | 1 | 10 | 10 | 3 | 0 | 0 | 0 | 0.9337 | 0 | VB | 7.2806 | 1.5127 | 0.063653 | 0.27762 | 0
|  | 12 | 1 | 11 | 11 | 0 | 0 | 0 | 1.0453 | 0 | 1.0453 |  | 0 | 0 | 0 | 0 | 2
|  | 13 | 1 | 12 | 12 | 3 | 0 | 0 | 0 | 1.7399 | 0 | BB | 1.6217 | 0.34941 | 0.06265 | 0.69023 | 0
|  | 14 | 1 | 13 | 13 | 3 | 0 | 0 | 0 | 2.0271 | 0 | BV | 5.788 | 0.65662 | 0.10734 | 1.3109 | 0
|  | 15 | 1 | 14 | 14 | 3 | 0 | 0 | 0 | 2.1468 | 0 | VB | 1.2585 | 0.36535 | 0.051187 | 0.76506 | 0
|  | 16 | 1 | 15 | 15 | 3 | 0 | 0 | 0 | 2.3487 | 0 | BV | 2.2009 | 0.32559 | 0.081365 | 1.6195 | 0
|  | 17 | 1 | 16 | 16 | 3 | 0 | 0 | 0 | 2.4406 | 0 | VB | 3.1656 | 1.303 | 0.036843 | 0.82091 | 0
|  | 18 | 1 | 17 | 17 | 3 | 0 | 0 | 0 | 2.6002 | 0 | BB | 0.90935 | 0.42463 | 0.031984 | 1.3448 | 0
|  | 19 | 1 | 18 | 18 | 0 | 0 | 0 | 2.6884 | 2.7042 | 2.6884 | BV | 25.7984 | 12.8063 | 0.031003 | 0.8813 | 3
|  | 20 | 1 | 19 | 19 | 0 | 0 | 0 | 2.8001 | 2.8022 | 2.8001 | VV | 77.3413 | 25.9141 | 0.044319 | 0.57504 | 4
|  | 21 | 1 | 20 | 20 | 3 | 0 | 0 | 0 | 3.0147 | 0 | VB | 1.4998 | 0.49468 | 0.044872 | 1.0377 | 0
|  | 22 | 1 | 21 | 21 | 3 | 0 | 0 | 0 | 3.1183 | 0 | BV | 3.4621 | 1.9171 | 0.028069 | 1.4977 | 0
|  | 23 | 1 | 22 | 22 | 0 | 0 | 0 | 3.1855 | 3.1821 | 3.1855 | VB | 298.6544 | 101.6272 | 0.044785 | 0.54517 | 5
|  | 24 | 1 | 23 | 23 | 0 | 0 | 0 | 3.2996 | 3.3248 | 3.2996 | BB | 0.7727 | 0.33028 | 0.036795 | 0.61475 | 6
|  | 25 | 1 | 24 | 24 | 0 | 0 | 0 | 3.414 | 3.4429 | 3.414 | BB | 10.5375 | 4.3122 | 0.03701 | 1.3722 | 7
|  | 26 | 1 | 25 | 25 | 0 | 0 | 0 | 3.4976 | 3.5361 | 3.4976 | BV | 24.1442 | 11.0251 | 0.034049 | 0.80549 | 8
|  | 27 | 1 | 26 | 26 | 3 | 0 | 0 | 0 | 3.6228 | 0 | VV | 22.2191 | 6.1952 | 0.054343 | 0.74495 | 0
|  | 28 | 1 | 27 | 27 | 3 | 0 | 0 | 0 | 3.7243 | 0 | VB | 2.3248 | 0.92095 | 0.03695 | 0.5093 | 0
|  | 29 | 1 | 28 | 28 | 0 | 0 | 0 | 3.9101 | 3.8654 | 3.9101 | BB | 11.8396 | 4.6941 | 0.037926 | 0.97277 | 9
|  | 30 | 1 | 29 | 29 | 3 | 0 | 0 | 0 | 3.958 | 0 | BV | 26.8815 | 11.1279 | 0.036683 | 0.70408 | 0
|  | 31 | 1 | 30 | 30 | 0 | 0 | 0 | 4.0393 | 4.0833 | 4.0393 | VV | 81.1842 | 33.3042 | 0.037439 | 0.79387 | 10
|  | 32 | 1 | 31 | 31 | 3 | 0 | 0 | 0 | 4.2015 | 0 | VB | 104.1276 | 40.6957 | 0.039351 | 0.73907 | 0
|  | 33 | 1 | 32 | 32 | 3 | 0 | 0 | 0 | 4.3287 | 0 | BB | 0.40731 | 0.15707 | 0.040754 | 0.42632 | 0
|  | 34 | 1 | 33 | 33 | 3 | 0 | 0 | 0 | 4.5146 | 0 | BB | 3.0712 | 0.83534 | 0.055393 | 1.2476 | 0
|  | 35 | 1 | 34 | 34 | 0 | 0 | 0 | 4.5879 | 4.6547 | 4.5879 | BB | 15.1054 | 6.73 | 0.034686 | 0.78937 | 11
|  | 36 | 1 | 35 | 35 | 3 | 0 | 0 | 0 | 4.8174 | 0 | BV | 1.6539 | 0.58406 | 0.042537 | 0.94591 | 0
|  | 37 | 1 | 36 | 36 | 3 | 0 | 0 | 0 | 4.9203 | 0 | VB | 2.4885 | 0.45682 | 0.067553 | 1.4446 | 0
|  | 38 | 1 | 37 | 37 | 0 | 0 | 0 | 5.1347 | 5.1918 | 5.1347 | BB | 2.1494 | 0.46373 | 0.066576 | 0.74971 | 12
|  | 39 | 1 | 38 | 38 | 0 | 0 | 0 | 5.2926 | 0 | 5.2926 |  | 0 | 0 | 0 | 0 | 13
|  | 40 | 1 | 39 | 39 | 0 | 0 | 0 | 5.3977 | 5.3848 | 5.3977 | BB | 32.3729 | 9.3389 | 0.049442 | 1.7549 | 14
|  | 41 | 1 | 40 | 40 | 3 | 0 | 0 | 0 | 5.5128 | 0 | BV | 3.3519 | 0.94079 | 0.048067 | 1.5921 | 0
|  | 42 | 1 | 41 | 41 | 3 | 0 | 0 | 0 | 5.5669 | 0 | VB | 1.9432 | 0.76547 | 0.037617 | 1.0863 | 0
|  | 43 | 1 | 42 | 42 | 3 | 0 | 0 | 0 | 5.6708 | 0 | BB | 0.4763 | 0.20999 | 0.036963 | 2.025 | 0
|  | 44 | 1 | 43 | 43 | 0 | 0 | 0 | 5.7187 | 5.7346 | 5.7187 | BV | 1.3813 | 0.69535 | 0.030676 | 1.3168 | 15
|  | 45 | 1 | 44 | 44 | 0 | 0 | 0 | 5.8554 | 5.7916 | 5.8554 | VV | 14.3038 | 5.2734 | 0.041645 | 0.78705 | 16
|  | 46 | 1 | 45 | 45 | 0 | 0 | 0 | 5.9252 | 5.9566 | 5.9252 | VV | 18.4927 | 6.6021 | 0.043679 | 1.0047 | 17
|  | 47 | 1 | 46 | 46 | 3 | 0 | 0 | 0 | 6.0471 | 0 | VB | 1.0968 | 0.47591 | 0.036388 | 0.87105 | 0
|  | 48 | 1 | 47 | 47 | 0 | 0 | 0 | 6.1878 | 6.18 | 6.1878 | BB | 2.5262 | 0.51393 | 0.063848 | 0.97328 | 18
|  | 49 | 1 | 48 | 48 | 0 | 0 | 0 | 6.3581 | 6.309 | 6.3581 | BB | 2.7328 | 1.0268 | 0.04105 | 0.71907 | 19
|  | 50 | 1 | 49 | 49 | 3 | 0 | 0 | 0 | 6.4859 | 0 | BV | 8.0907 | 0.98755 | 0.10708 | 0.29067 | 0
|  | 51 | 1 | 50 | 50 | 0 | 0 | 0 | 6.5711 | 6.6318 | 6.5711 | VB | 3.898 | 0.63373 | 0.07876 | 0.1989 | 20
|  | 52 | 1 | 51 | 51 | 3 | 0 | 0 | 0 | 6.8505 | 0 | BV | 4.5983 | 1.6874 | 0.042292 | 0.82342 | 0
|  | 53 | 1 | 52 | 52 | 3 | 0 | 0 | 0 | 6.9566 | 0 | VV | 24.585 | 8.0117 | 0.046801 | 0.80026 | 0
|  | 54 | 1 | 53 | 53 | 3 | 0 | 0 | 0 | 7.0831 | 0 | VB | 8.0619 | 1.5505 | 0.07216 | 0.44393 | 0
|  | 55 | 1 | 54 | 54 | 3 | 0 | 0 | 0 | 7.2933 | 0 | BB | 4.8867 | 1.5168 | 0.050585 | 0.73118 | 0
|  | 56 | 1 | 55 | 55 | 0 | 0 | 0 | 7.3758 | 7.418 | 7.3758 | BB | 4.9629 | 1.5864 | 0.046998 | 0.53964 | 21
|  | 57 | 1 | 56 | 56 | 0 | 0 | 0 | 7.6068 | 7.5617 | 7.6068 | BB | 0.82635 | 0.45758 | 0.030569 | 1.61 | 22
|  | 58 | 1 | 57 | 57 | 3 | 0 | 0 | 0 | 7.6629 | 0 | BB | 133.3347 | 50.4336 | 0.040844 | 1.1349 | 0
|  | 59 | 1 | 58 | 58 | 3 | 0 | 0 | 0 | 7.7985 | 0 | BB | 960.8754 | 559.5336 | 0.026035 | 0.69903 | 0
|  | 60 | 1 | 59 | 59 | 3 | 0 | 0 | 0 | 7.9146 | 0 | BV | 635.8666 | 340.5436 | 0.028284 | 0.88642 | 0
|  | 61 | 1 | 60 | 60 | 3 | 0 | 0 | 0 | 7.9569 | 0 | VV | 97.1195 | 85.8001 | 0.016206 | 0.84092 | 0
|  | 62 | 1 | 61 | 61 | 3 | 0 | 0 | 0 | 8.0897 | 0 | VB | 1514.3129 | 291.4716 | 0.066613 | 1.3615 | 0
|  | 63 | 1 | 62 | 62 | 3 | 0 | 0 | 0 | 8.6923 | 0 | BV | 209.1708 | 93.6524 | 0.033057 | 1.2444 | 0
|  | 64 | 1 | 63 | 63 | 3 | 0 | 0 | 0 | 8.7478 | 0 | VV | 1314.0862 | 857.5632 | 0.023377 | 0.61647 | 0
|  | 1 | 1 | 64 | 64 | 3 | 0 | 0 | 0 | 8.8554 | 0 | VB | 217.7477 | 107.03 | 0.029735 | 0.54176 | 0

## ISTD
HeaderName | HeaderValue | FirstDependent | Compound | CompGroup | ShortName | Amount | CalIstd
NumberOfRows | 0
NumberOfCol | 6
NumberOfHead | 7
Modified | 1
FirstDependent_ | Compound
Compound_ | Compound
CompGroup_ | CompGroup

## QuantParm
HeaderName | HeaderValue
NumberOfRows | 0
NumberOfCol | 0
NumberOfHead | 50
Modified | 1
UnkComp
UnkComp_ | Compound
QuantRev | Rev. 1.76
SampleAmount | 0
Multiplier | 1
RunType | 0
Units | pmol/ul
CalcBase | 0
CalcType | 1
UnkCompRF | 0
UnkCompCalc | 0
SampleInfo
UseSampleVars | TRUE
ResNewBy | CODY
ResNewTime | 12/07/10 13:54:28
ResNewDateTime | Tuesday, December 07, 2010 1:54:28 PM
ResModBy | CODY
ResModTime | 12/07/10 13:54:28
ResModDateTime | Tuesday, December 07, 2010 1:54:28 PM
SampleLevel | 1
CalMethod | C:\CHEM32\1\METHODS\AAA_21X50MM.M
CalNewBy | CODY
CalNewTime | 12/07/10 13:47:37
CalNewDateTime | 12/7/2010 1:47:37 PM
CalModBy | CODY
CalModTime | 12/07/10 13:53:15
CalModDateTime | 12/7/2010 1:53:15 PM
DoIdent | 1
IdMethod | 0
IdMethodRef | 1
UseQualifiers | TRUE
RTUpdate | 2
RTReplace | FALSE
RTUpdWeight | 75
RespUpdate | 1
RespReplace | FALSE
RespUpdWeight | 75
SigCorrMethod | 1
SignalCorrWin | 0.03
UnkCompISTD
UnkCompISTD_ | ISTD
UnkCompISTDRF | 2
Dilution | 1
Normalization | 0
NegativeAmts | FALSE
NormalizedArea | 0

## ErrorReport
HeaderName | HeaderValue | ErrorStatus | ErrorCode | ErrorLine | TabName | Comment
NumberOfRows | 2 | 1 | 0 | 0 |  | Calibration warnings (see calibration table listing)
NumberOfCol | 5 | 1 | 0 | 0 | Compound | Calibrated compound(s) not found
NumberOfHead | 4
Modified | 1

## ControlLimits
HeaderName | HeaderValue | Compound | CLowAmount | CHighAmount | CLowArea | CHighArea | CLowHeight | CHighHeight | CLowPlates | CHighPlates | CLowSymmetry | CHighSymmetry | CLowKPrime | CHighKPrime | CLowResolution | CHighResolution | CalCtrlLimits
NumberOfRows | 0
NumberOfCol | 16
NumberOfHead | 5
Modified | 1
Compound_ | Compound

## FileInfo1
HeaderName | HeaderValue | Item | Text
NumberOfRows | 10 | LC-File | 1AB-0201.D
NumberOfCol | 2 | File Path | C:\CHEM32\1\DATA\CODY2010\PLATE1A-2\
NumberOfHead | 6 | Date | 01-Dec-10, 10:55:24
Modified | 1 | Sample | CODY2010
SignalUpdate | 1 | Sample Info
LastInfoRow | 5 | Barcode
|  | Operator | CODY
|  | Method | AAA_21X50MM.M
|  | Analysis Time | 8.998 min
|  | Sampling Rate | 0.0017 min (0.102 sec), 5400 datapoints

## IntResults1
HeaderName | HeaderValue | Flags | PeakType | RetTime | Area | Height | Width | Symmetry | Baseline | TimeStart | LevelStart | BaselineStart | TimeEnd | LevelEnd | BaselineEnd | BaselineModel | BaselineParam1 | BaselineParam2 | BaselineParam3 | BaselineParam4 | BaselineParam5 | AreaPercent
NumberOfRows | 61 | 2 | 8 | 0.29336 | 5.5025 | 2.0344 | 0.042556 | 1.3763 | -7.3748 | 0.23937 | 0 | -6.269 | 0.31335 | 2.0012 | -7.784 | 1 | -20.4785 | -1.3671 | 0 | 0 | 0 | 0.084484
NumberOfCol | 21 | 34 | 8 | 0.32638 | 4.0712 | 3.4528 | 0.017256 | 1.0676 | -8.0509 | 0.31335 | 2.0012 | -7.784 | 0.33869 | 1.9494 | -8.3029 | 1 | -20.4785 | -1.3671 | 0 | 0 | 0 | 0.062508
NumberOfHead | 9 | 32 | 8 | 0.34589 | 2.075 | 2.8269 | 0.011564 | 0.95119 | -8.4503 | 0.33869 | 1.9494 | -8.3029 | 0.3577 | 0 | -8.6923 | 1 | -20.4785 | -1.3671 | 0 | 0 | 0 | 0.031858
Modified | 1 | 0 | 8 | 0.38991 | 13.6545 | 6.268 | 0.037915 | 1.3024 | -9.5696 | 0.35785 | 0 | -8.6806 | 0.41206 | 0 | -10.1837 | 1 | -27.7253 | 1.2408 | 0 | 0 | 0 | 0.20965
DateTime |  | 2 | 8 | 0.44445 | 161.7084 | 61.9496 | 0.038454 | 0.51458 | -9.8248 | 0.4127 | 0 | -10.2172 | 0.5847 | 3.7645 | -8.0917 | 1 | 12.3576 | -15.3172 | 0 | 0 | 0 | 2.4828
IntegStart | 0 | 34 | 8 | 0.62226 | 145.2184 | 71.7524 | 0.030612 | 0.70549 | -7.6275 | 0.5847 | 3.7645 | -8.0917 | 0.71214 | 1.249 | -6.5168 | 1 | 12.3576 | -15.3172 | 0 | 0 | 0 | 2.2296
IntegEnd | 0 | 32 | 8 | 0.72291 | 2.3024 | 1.1476 | 0.028906 | 0.46867 | -6.3837 | 0.71214 | 1.249 | -6.5168 | 0.77225 | -1.7764e-15 | -5.774 | 1 | 12.3576 | -15.3172 | 0 | 0 | 0 | 0.03535
Errors | 0 | 2 | 8 | 0.81889 | 219.5895 | 109.5918 | 0.030377 | 0.59593 | -5.8145 | 0.7727 | 0 | -5.7745 | 0.91287 | 1.1571 | -5.8958 | 1 | -0.86552 | -5.1057 | 0 | 0 | 0 | 3.3715
IntegMode | 2 | 32 | 8 | 0.9337 | 7.2806 | 1.5127 | 0.063653 | 0.27762 | -5.9138 | 0.91287 | 1.1571 | -5.8958 | 1.1694 | 0 | -6.1178 | 1 | -0.86552 | -5.1057 | 0 | 0 | 0 | 0.11178
|  | 0 | 8 | 1.7399 | 1.6217 | 0.34941 | 0.06265 | 0.69023 | -6.1128 | 1.6727 | 0 | -6.1245 | 1.844 | 0 | -6.0948 | 1 | 0.17327 | -6.4143 | 0 | 0 | 0 | 0.0249
|  | 2 | 8 | 2.0271 | 5.788 | 0.65662 | 0.10734 | 1.3109 | -6.1225 | 1.8444 | 0 | -6.0949 | 2.1167 | 0.252 | -6.136 | 1 | -0.15071 | -5.817 | 0 | 0 | 0 | 0.088868
|  | 32 | 8 | 2.1468 | 1.2585 | 0.36535 | 0.051187 | 0.76506 | -6.1405 | 2.1167 | 0.252 | -6.136 | 2.2177 | 0 | -6.1512 | 1 | -0.15071 | -5.817 | 0 | 0 | 0 | 0.019322
|  | 2 | 8 | 2.3487 | 2.2009 | 0.32559 | 0.081365 | 1.6195 | -6.1336 | 2.2181 | 0 | -6.151 | 2.4019 | 0.17011 | -6.1265 | 1 | 0.1331 | -6.4462 | 0 | 0 | 0 | 0.033792
|  | 32 | 8 | 2.4406 | 3.1656 | 1.303 | 0.036843 | 0.82091 | -6.1214 | 2.4019 | 0.17011 | -6.1265 | 2.546 | 0 | -6.1073 | 1 | 0.1331 | -6.4462 | 0 | 0 | 0 | 0.048603
|  | 0 | 8 | 2.6002 | 0.90935 | 0.42463 | 0.031984 | 1.3448 | -6.0668 | 2.546 | 0 | -6.1073 | 2.6368 | 0 | -6.0394 | 1 | 0.74854 | -8.0131 | 0 | 0 | 0 | 0.013962
|  | 2 | 8 | 2.7042 | 25.7984 | 12.8063 | 0.031003 | 0.8813 | -5.9853 | 2.6377 | 8.8818e-16 | -6.0391 | 2.749 | 0.63898 | -5.9491 | 1 | 0.80918 | -8.1735 | 0 | 0 | 0 | 0.3961
|  | 34 | 8 | 2.8022 | 77.3413 | 25.9141 | 0.044319 | 0.57504 | -5.9061 | 2.749 | 0.63898 | -5.9491 | 2.9761 | 0.19835 | -5.7653 | 1 | 0.80918 | -8.1735 | 0 | 0 | 0 | 1.1875
|  | 32 | 8 | 3.0147 | 1.4998 | 0.49468 | 0.044872 | 1.0377 | -5.7341 | 2.9761 | 0.19835 | -5.7653 | 3.0748 | 8.8818e-16 | -5.6855 | 1 | 0.80918 | -8.1735 | 0 | 0 | 0 | 0.023027
|  | 2 | 8 | 3.1183 | 3.4621 | 1.9171 | 0.028069 | 1.4977 | -5.5729 | 3.0777 | 0 | -5.682 | 3.1316 | 1.6253 | -5.5369 | 1 | 2.6895 | -13.9593 | 0 | 0 | 0 | 0.053155
|  | 32 | 8 | 3.1821 | 298.6544 | 101.6272 | 0.044785 | 0.54517 | -5.4011 | 3.1316 | 1.6253 | -5.5369 | 3.293 | 8.8818e-16 | -5.103 | 1 | 2.6895 | -13.9593 | 0 | 0 | 0 | 4.5854
|  | 0 | 8 | 3.3248 | 0.7727 | 0.33028 | 0.036795 | 0.61475 | -5.3446 | 3.293 | 8.8818e-16 | -5.103 | 3.3644 | 0 | -5.6448 | 1 | -7.588 | 19.884 | 0 | 0 | 0 | 0.011864
|  | 0 | 8 | 3.4429 | 10.5375 | 4.3122 | 0.03701 | 1.3722 | -5.4173 | 3.3777 | 0 | -5.6734 | 3.4846 | 0 | -5.2531 | 1 | 3.9316 | -18.9533 | 0 | 0 | 0 | 0.16179
|  | 2 | 8 | 3.5361 | 24.1442 | 11.0251 | 0.034049 | 0.80549 | -5.3184 | 3.4846 | 0 | -5.2531 | 3.5768 | 1.8034 | -5.3699 | 1 | -1.2665 | -0.83985 | 0 | 0 | 0 | 0.3707
|  | 34 | 8 | 3.6228 | 22.2191 | 6.1952 | 0.054343 | 0.74495 | -5.4282 | 3.5768 | 1.8034 | -5.3699 | 3.7087 | 0.80432 | -5.5369 | 1 | -1.2665 | -0.83985 | 0 | 0 | 0 | 0.34114
|  | 32 | 8 | 3.7243 | 2.3248 | 0.92095 | 0.03695 | 0.5093 | -5.5568 | 3.7087 | 0.80432 | -5.5369 | 3.7927 | 0 | -5.6434 | 1 | -1.2665 | -0.83985 | 0 | 0 | 0 | 0.035693
|  | 0 | 8 | 3.8654 | 11.8396 | 4.6941 | 0.037926 | 0.97277 | -6.2244 | 3.7962 | -8.8818e-16 | -5.6433 | 3.9144 | 0 | -6.6352 | 1 | -8.3913 | 26.2114 | 0 | 0 | 0 | 0.18178
|  | 2 | 8 | 3.958 | 26.8815 | 11.1279 | 0.036683 | 0.70408 | -6.5443 | 3.9147 | 0 | -6.6338 | 4.0237 | 0.88611 | -6.4087 | 1 | 2.0649 | -14.7171 | 0 | 0 | 0 | 0.41273
|  | 34 | 8 | 4.0833 | 81.1842 | 33.3042 | 0.037439 | 0.79387 | -6.2857 | 4.0237 | 0.88611 | -6.4087 | 4.1451 | 1.0786 | -6.1581 | 1 | 2.0649 | -14.7171 | 0 | 0 | 0 | 1.2465
|  | 32 | 8 | 4.2015 | 104.1276 | 40.6957 | 0.039351 | 0.73907 | -6.0416 | 4.1451 | 1.0786 | -6.1581 | 4.3039 | -8.8818e-16 | -5.8301 | 1 | 2.0649 | -14.7171 | 0 | 0 | 0 | 1.5987
|  | 0 | 8 | 4.3287 | 0.40731 | 0.15707 | 0.040754 | 0.42632 | -5.8814 | 4.3039 | 0 | -5.8301 | 4.396 | 8.8818e-16 | -6.0205 | 1 | -2.0662 | 3.0623 | 0 | 0 | 0 | 0.0062537
|  | 0 | 8 | 4.5146 | 3.0712 | 0.83534 | 0.055393 | 1.2476 | -6.101 | 4.3985 | 0 | -6.0229 | 4.5844 | 0 | -6.1479 | 1 | -0.67205 | -3.0669 | 0 | 0 | 0 | 0.047154
|  | 0 | 8 | 4.6547 | 15.1054 | 6.73 | 0.034686 | 0.78937 | -6.0865 | 4.5944 | -8.8818e-16 | -6.1507 | 4.7422 | -8.8818e-16 | -5.9934 | 1 | 1.0642 | -11.0401 | 0 | 0 | 0 | 0.23192
|  | 2 | 8 | 4.8174 | 1.6539 | 0.58406 | 0.042537 | 0.94591 | -5.9617 | 4.7444 | 0 | -5.9929 | 4.8549 | 0.24901 | -5.9457 | 1 | 0.42677 | -8.0176 | 0 | 0 | 0 | 0.025394
|  | 32 | 8 | 4.9203 | 2.4885 | 0.45682 | 0.067553 | 1.4446 | -5.9178 | 4.8549 | 0.24901 | -5.9457 | 4.9986 | 0 | -5.8844 | 1 | 0.42677 | -8.0176 | 0 | 0 | 0 | 0.038207
|  | 0 | 8 | 5.1918 | 2.1494 | 0.46373 | 0.066576 | 0.74971 | -6.0674 | 5.1077 | 0 | -6.0706 | 5.2741 | 0 | -6.0643 | 1 | 0.037733 | -6.2633 | 0 | 0 | 0 | 0.033002
|  | 0 | 8 | 5.3848 | 32.3729 | 9.3389 | 0.049442 | 1.7549 | -5.8028 | 5.276 | 1.7764e-15 | -6.0616 | 5.4527 | 1.7764e-15 | -5.6414 | 1 | 2.3783 | -18.6097 | 0 | 0 | 0 | 0.49704
|  | 2 | 8 | 5.5128 | 3.3519 | 0.94079 | 0.048067 | 1.5921 | -5.4011 | 5.4577 | 0 | -5.6357 | 5.5412 | 0.58277 | -5.2803 | 1 | 4.2545 | -28.8553 | 0 | 0 | 0 | 0.051464
|  | 32 | 8 | 5.5669 | 1.9432 | 0.76547 | 0.037617 | 1.0863 | -5.1712 | 5.5412 | 0.58277 | -5.2803 | 5.6132 | -8.8818e-16 | -4.974 | 1 | 4.2545 | -28.8553 | 0 | 0 | 0 | 0.029835
|  | 0 | 8 | 5.6708 | 0.4763 | 0.20999 | 0.036963 | 2.025 | -4.7351 | 5.6244 | 0 | -4.9553 | 5.6946 | 1.7764e-15 | -4.6222 | 1 | 4.7457 | -31.6471 | 0 | 0 | 0 | 0.007313
|  | 2 | 8 | 5.7346 | 1.3813 | 0.69535 | 0.030676 | 1.3168 | -4.6549 | 5.6946 | 0 | -4.6222 | 5.7506 | 0.57323 | -4.668 | 1 | -0.81681 | 0.029156 | 0 | 0 | 0 | 0.021209
|  | 34 | 8 | 5.7916 | 14.3038 | 5.2734 | 0.041645 | 0.78705 | -4.7014 | 5.7506 | 0.57323 | -4.668 | 5.8786 | 0.11733 | -4.7725 | 1 | -0.81681 | 0.029156 | 0 | 0 | 0 | 0.21962
|  | 34 | 8 | 5.9566 | 18.4927 | 6.6021 | 0.043679 | 1.0047 | -4.8362 | 5.8786 | 0.11733 | -4.7725 | 6.019 | 0.12688 | -4.8872 | 1 | -0.81681 | 0.029156 | 0 | 0 | 0 | 0.28393
|  | 32 | 8 | 6.0471 | 1.0968 | 0.47591 | 0.036388 | 0.87105 | -4.9101 | 6.019 | 0.12688 | -4.8872 | 6.0977 | 0 | -4.9515 | 1 | -0.81681 | 0.029156 | 0 | 0 | 0 | 0.01684
|  | 0 | 8 | 6.18 | 2.5262 | 0.51393 | 0.063848 | 0.97328 | -5.0338 | 6.0994 | 0 | -4.9515 | 6.2544 | 0 | -5.1098 | 1 | -1.0214 | 1.2781 | 0 | 0 | 0 | 0.038787
|  | 0 | 8 | 6.309 | 2.7328 | 1.0268 | 0.04105 | 0.71907 | -5.1159 | 6.2594 | 0 | -5.1117 | 6.401 | 0 | -5.1236 | 1 | -0.084148 | -4.585 | 0 | 0 | 0 | 0.041958
|  | 2 | 8 | 6.4859 | 8.0907 | 0.98755 | 0.10708 | 0.29067 | -5.1122 | 6.4027 | 0 | -5.1227 | 6.6126 | 0.57824 | -5.0962 | 1 | 0.12589 | -5.9287 | 0 | 0 | 0 | 0.12422
|  | 32 | 8 | 6.6318 | 3.898 | 0.63373 | 0.07876 | 0.1989 | -5.0938 | 6.6126 | 0.57824 | -5.0962 | 6.7777 | 0 | -5.0755 | 1 | 0.12589 | -5.9287 | 0 | 0 | 0 | 0.059849
|  | 2 | 8 | 6.8505 | 4.5983 | 1.6874 | 0.042292 | 0.82342 | -5.0236 | 6.7789 | 0 | -5.0744 | 6.8928 | 0.41047 | -4.9936 | 1 | 0.70935 | -9.8831 | 0 | 0 | 0 | 0.0706
|  | 34 | 8 | 6.9566 | 24.585 | 8.0117 | 0.046801 | 0.80026 | -4.9484 | 6.8928 | 0.41047 | -4.9936 | 7.0407 | 0.56092 | -4.8887 | 1 | 0.70935 | -9.8831 | 0 | 0 | 0 | 0.37747
|  | 32 | 8 | 7.0831 | 8.0619 | 1.5505 | 0.07216 | 0.44393 | -4.8587 | 7.0407 | 0.56092 | -4.8887 | 7.2402 | 0 | -4.7472 | 1 | 0.70935 | -9.8831 | 0 | 0 | 0 | 0.12378
|  | 0 | 8 | 7.2933 | 4.8867 | 1.5168 | 0.050585 | 0.73118 | -4.8212 | 7.241 | 0 | -4.7483 | 7.371 | 0 | -4.9295 | 1 | -1.3938 | 5.3444 | 0 | 0 | 0 | 0.075028
|  | 0 | 8 | 7.418 | 4.9629 | 1.5864 | 0.046998 | 0.53964 | -4.9074 | 7.3727 | 0 | -4.9295 | 7.5131 | 0 | -4.8608 | 1 | 0.48988 | -8.5412 | 0 | 0 | 0 | 0.076199
|  | 0 | 8 | 7.5617 | 0.82635 | 0.45758 | 0.030569 | 1.61 | -4.5363 | 7.5277 | -7.1054e-15 | -4.8203 | 7.5841 | -8.8818e-15 | -4.3496 | 1 | 8.3461 | -67.6471 | 0 | 0 | 0 | 0.012688
|  | 0 | 8 | 7.6629 | 133.3347 | 50.4336 | 0.040844 | 1.1349 | -1.7721 | 7.591 | 0 | -4.2486 | 7.7192 | 2.5396e-14 | 0.16525 | 1 | 34.4438 | -265.7126 | 0 | 0 | 0 | 2.0472
|  | 0 | 8 | 7.7985 | 960.8754 | 559.5336 | 0.026035 | 0.69903 | 9.2405 | 7.736 | 0 | 0.99277 | 7.8672 | -7.816e-14 | 18.3107 | 1 | 132.008 | -1020.2253 | 0 | 0 | 0 | 14.7529
|  | 2 | 8 | 7.9146 | 635.8666 | 340.5436 | 0.028284 | 0.88642 | 16.4669 | 7.8672 | -2.1316e-14 | 18.3107 | 7.9462 | 55.4816 | 15.2374 | 1 | -38.9113 | 324.4345 | 0 | 0 | 0 | 9.7629
|  | 34 | 8 | 7.9569 | 97.1195 | 85.8001 | 0.016206 | 0.84092 | 14.8223 | 7.9462 | 55.4816 | 15.2374 | 7.9699 | 53.8435 | 14.314 | 1 | -38.9113 | 324.4345 | 0 | 0 | 0 | 1.4911
|  | 32 | 8 | 8.0897 | 1514.3129 | 291.4716 | 0.066613 | 1.3615 | 9.655 | 7.9699 | 53.8435 | 14.314 | 8.341 | 0 | -0.12589 | 1 | -38.9113 | 324.4345 | 0 | 0 | 0 | 23.2502
|  | 2 | 8 | 8.6923 | 209.1708 | 93.6524 | 0.033057 | 1.2444 | -1.0558 | 8.5877 | 0 | -6.0258 | 8.722 | 19.0622 | 0.35636 | 1 | 47.5314 | -414.2112 | 0 | 0 | 0 | 3.2115
|  | 34 | 8 | 8.7478 | 1314.0862 | 857.5632 | 0.023377 | 0.61647 | 1.5861 | 8.722 | 19.0622 | 0.35636 | 8.8248 | 7.4024 | 5.2419 | 1 | 47.5314 | -414.2112 | 0 | 0 | 0 | 20.176
|  | 32 | 8 | 8.8554 | 217.7477 | 107.03 | 0.029735 | 0.54176 | 6.6988 | 8.8248 | 7.4024 | 5.2419 | 8.9483 | -1.954e-14 | 11.1152 | 1 | 47.5314 | -414.2112 | 0 | 0 | 0 | 3.3432